## Slide 1: Energy Transformation
Professor Władysław Mielczarski
Seminar, Instytut Podstawowych Problemów Techniki
Polska Akademia Nauk
Warszawa, 27 January 2025

## Slide 2: Presentation Plan
Energy Transformation targets
Technologies of electricity production
Security of electricity supply
Power system operations - examples
Technical barriers to energy transformation

## Slide 3: Targets of Energy Transformation
Energy transformation is a part of the European Union's energy policy resulting from the European Green Deal.
The main target of the Energy Transformation in power systems is to reduce carbon dioxide (CO2) emitted during electrical Energy production in conventional power stations - decarbonisation.
It aims to eliminate fossil fuels (in particular coal) in the production of electrical energy replacing them with renewable Energy sources.
The European Union members emit about 6-7% of the total world emission of carbon dioxide (CO2).

## Slide 4: Energy limited and unlimited units
From the operation of the power system, the energy generating units can be split into two categories:
Unlimited energy units include nuclear power installations, lignite, hard coal and natural gas power stations. Such units can supply electrical energy for long periods independently of external conditions.
Limited energy units embrace hydropower stations, in particular, in cascade configuration, hydro-pump storage installations and energy storage. Biomass and biogas power units with limited fuel reserves can be also assigned to this group.
Weather dependent power generation plants which relate to most renewables such as wind and solar power installations. Such units can supply energy for a limited time and in periods dependent on external conditions such as weather: wind generation or photovoltaic panels dependent on solar radiation.
The European Union legal regulations require the fossil power stations to have input fuels’ storage for 30 days of typical operation conditions.

## Slide 5: Dispatchable power stations

## Slide 6: Annual use of rated power (h)
There are 8760 hours in one year.

## Slide 7: Conventional balancing of electricity demand

## Slide 8: Security of Energy Supply
Security of Energy Supply means:
Continuing Delivery of energy and fuels to the economy and residential energy users in any time and conditions (24 hours per day and 7 days per week) – technical aspect.
Reasonable Energy Prices means that buying energy the industry still remains competitive and residential customers do not need to limit their other needs – economic aspect.
The supply security is technically measured by power and energy balances.

## Slide 9: Power balance must be ensured in every second of power system operation.

## Slide 10: Energy balance must be ensured annually. Renewables are included in energy balance.

## Slide 11: Electric Energy mix in Poland - 2023

## Slide 12: The Polish energy transformation plan

## Slide 13: Conventional balancing of electricity demand

## Slide 14: Power system balance

## Slide 15: Transformation in Power Systems
Main assumptions allowing for the most optimistic case:
Use of the hourly standardized profile of energy generation derived on the records in 2021 – 2024, totally over 35 000 hours – the unique and precise method.
No power flow constraints in power system – Copper plate model – no restriction on renewable production.
Energy store capacity as assumed in the Energy Policy
No other constraints on Energy Store in term of operation and technologies

## Slide 16
Chart: Power generation Jan, 3 Days

## Slide 17
Chart: Jan 2030 Mix ES=7000MWh

## Slide 18
Chart: Power generation - January, Days 1-10

## Slide 19
Chart: RES excess and space, ES operation, January, Days 1-10

## Slide 20
Chart: Power generation, January, Days 11-20

## Slide 21
Chart: RES excess and space, ES operation, January, Days 11-20

## Slide 22
Chart: Power generation, January, Days 21-31

## Slide 23
Chart: RES excess and space, ES operation, January, Days 21-31

## Slide 24
Chart: Jun 2030 Energy Mix - ES=7000MWh

## Slide 25
Chart: Dec 2030 Energy Mix - ES=7000MWh

## Slide 26
Chart: RES excess and space, ES operation, December, Days 11-31

## Slide 27: Verification of energy transformation

## Slide 28: Final conclusions
Energy Transformation in power systems is limited by the physical nature of Electric Energy and power system operation.
Renewables Energy Sources such as Wind and PV have can deliver about 40-45% of the total Electric Energy demand.
The implementation of Energy Storage can increase renewable Energy share to 55-60%.
The security of supply requires that power balance must be ensured by fully dispatchable power stations (coal, gas or nuclear).

## Slide 29: Information about the presenter
Władysław Mielczarski (PhD, DSc, MEngSc) is a Life Professor in Electric Power Engineering nominated by the President of Poland in 2002. He graduated from University of Technology in Lodz in 1973 and was employed as an academic in this university for over 40 years.
He also worked as a power consultant for international institutions and power industry dealing with the security of power system and energy transformation. He published 12 books and over 300 hundreds of research papers.
In 1991-2000, he was Associate Professor at Monash University in Melbourne.
Between 2007-2011, he worked as the European Energy Coordinator in the European Commission for the development of interstate power connections in the Northern and Central Europe.
Professor W. Mielczarski was awarded the Knight Cross of Polonia Restituta by the President of Poland in 2022. He is also a Life Member of IEEE.